## hex to float
This sheet requires the Analysis Toolpak to be loaded. Select the Tools Menu > Add-Ins... > check Analysis Toolpack
|  | most significant |  |  | Least significant
|  | high word |  | low word |  | INSTRUCTIONS
2 words | decimal | 16457 |  | 4059 |  | < Enter these 2 words as decimal numbers
| hex | 4049 |  | 0FDB |  | < or enter these 2 words in hex
|  | high byte |  |  | low byte
4 bytes | decimal | 64 | 73 | 15 | 219 | < or enter these 4 bytes as decimal numbers
| hex | 40 | 49 | 0F | DB | < or enter these 4 bytes in hex
32 bits | binary | 01000000 | 01001001 | 00001111 | 11011011 | < or enter these 4 bytes as 8 bit binary strings
alternate method of calculating the mantissa
| first bit | 0 |  |  |  |  | each row is half of that above | 1 | 1 is always included
| invert | 1 | SIGN |  | final 23 bits | 1 | 0.5 | 0.5
[6 empty] | 0 | 0.25 | 0
| next 8 bits | 10000000 |  |  |  | 0 | 0.125 | 0
| decimal | 128 |  |  |  | 1 | 0.0625 | 0.0625
| subtract 127 | 1 | EXPONENT |  |  | 0 | 0.03125 | 0
[6 empty] | 0 | 0.015625 | 0
| final 23 bits | 10010010000111111011011 |  |  |  | 1 | 0.0078125 | 0.0078125
| decimal | 4788187 |  |  |  | 0 | 0.0039062 | 0
| 80 00 00 hex | 8388608 |  |  |  | 0 | 0.0019531 | 0
| divide | 0.5708 |  |  |  | 0 | 0.00097656 | 0
| add 1 | 1.5708 | MANTISSA |  |  | 0 | 0.00048828 | 0
[6 empty] | 1 | 0.00024414 | 0.00024414
| FLOAT = SIGN x MANTISSA x ( 2 ^ EXPONENT ) |  |  |  |  | 1 | 0.00012207 | 0.00012207
[6 empty] | 1 | 6.1035e-05 | 6.1035e-05
| FLOAT | 3.1416 |  |  |  | 1 | 3.0518e-05 | 3.0518e-05
[6 empty] | 1 | 1.5259e-05 | 1.5259e-05
Courtesy of | [5 empty] | 1 | 7.6294e-06 | 7.6294e-06
[6 empty] | 0 | 3.8147e-06 | 0
[6 empty] | 1 | 1.9073e-06 | 1.9073e-06
[6 empty] | 1 | 9.5367e-07 | 9.5367e-07
[6 empty] | 0 | 4.7684e-07 | 0
[6 empty] | 1 | 2.3842e-07 | 2.3842e-07
www.simplymodbus.ca | [5 empty] | 1 | 1.1921e-07 | 1.1921e-07
[7 empty] | total | 1.5708 | MANTISSA

## float to hex
This sheet requires the Analysis Toolpak to be loaded. Select the Tools Menu > Add-Ins... > check Analysis Toolpack
| FLOAT | 3.1416 | < Enter floating point number
FLOAT = SIGN x MANTISSA x ( 2 ^ EXPONENT )
|  | 1 | SIGN |  | Courtesy of
| 1st bit | 0
|  | 1 | EXPONENT
| add 127 | 128
| next 8 bits | 10000000
www.simplymodbus.ca
|  | 1.5708 | MANTISSA
| subtract 1 | 0.5708
| 80 00 00 hex | 8388608
| multiply | 4788187
| final 23 bits | 10010010000111111011011
|  | integer | 73 | 18703 | 4788187
|  | div by 256 |  | 73.0586 | 18703.8555
|  | remainder |  | 15 | 219
1001001
32 bits | binary | 01000000 | 01001001 | 00001111 | 11011011
4 bytes | hex | 40 | 49 | 0F | DB
| decimal | 64 | 73 | 15 | 219
|  | byte1 | byte2 | byte3 | byte4
|  | high byte |  |  | low byte
2 words | hex | 4049 |  | 0FDB
| decimal | 16457 |  | 4059
|  | high word |  | low word
|  | most significant |  |  | Least significant